## Inventory list
Manufacturer | Case | Location | Porduct ID | Product description | Box code | Product code | Quantity | Quantity taken | Date taken | Date returned | Product image | Missing items
Erbessd instruments | Black case "VISO" 20ITT02 | IMaR | N/A | Wireless Machine Sensors | PH1 | PH1A | 12 (orange) Phantom vibration sensors |  |  |  |  | USB power cord
Erbessd instruments | Black case "VISO" 20ITT03 | IMaR |  |  | PH1 | PH1B
Erbessd instruments | Black case "VISO" 20ITT04 | IMaR |  |  | PH1 | PH1C
Erbessd instruments | Black case "VISO" 20ITT05 | IMaR |  |  | PH1 | PH1D
Erbessd instruments | Black case "VISO" 20ITT06 | IMaR |  |  | PH1 | PH1E
Erbessd instruments | Black case "VISO" 20ITT07 | IMaR |  |  | PH1 | PH1F
Erbessd instruments | Black case "VISO" 20ITT08 | IMaR |  |  | PH1 | PH1G
Erbessd instruments | Black case "VISO" 20ITT09 | IMaR |  |  | PH1 | PH1H
Erbessd instruments | Black case "VISO" 20ITT10 | IMaR |  |  | PH1 | PH1I
Erbessd instruments | Black case "VISO" 20ITT11 | IMaR |  |  | PH1 | PH1J
Erbessd instruments | Black case "VISO" 20ITT12 | IMaR |  |  | PH1 | PH1K
Erbessd instruments | Black case "VISO" 20ITT13 | IMaR |  |  | PH1 | PH1L
Erbessd instruments | Black case "VISO" 20ITT14 | IMaR |  |  | PH1 | PH2 | 1 USB - (4-pin) cable
Erbessd instruments | Black case "VISO" 20ITT15 | IMaR |  |  | PH1 | PH3A | 12 hex nuts in a bag
Erbessd instruments | Black case "VISO" 20ITT16 | IMaR |  |  | PH1 | PH4 | 2 Whip aerials in a bag
Erbessd instruments | Black case "VISO" 20ITT17 | IMaR |  |  | PH1 | PH5 | 1 Erbessd Phantom Gateway EPH-GW
Multitech | Cardboard box | IMaR | MTCDTIP-L4E1 | IoT gateway LoRa® networks | MU | MU1 | 1 Multitech Conduit Base Station |  |  |  |  | None
[6 empty] | MU2A | 2 LoRa antennas
MU2B
[6 empty] | MU3A | 2 LTE antennas
MU3B
[6 empty] | MU4A | 1 Wi-Fi antenna
[6 empty] | MU5A | 2 Hose clamps
MU5B
[6 empty] | MU6A | Mounting brace
[6 empty] | MU7A | 4 each M5 X 10mm screws, washers & split washers
[6 empty] | MU8A | 1 GNSS antenna
Advantech | Black squat travel case "VISO" | IMaR | BB-WSK-NRG-2 | Wzzard Mesh Energy Monitoring Starter Kit | WZZ | WZZ1 | 1 Smartswarm 300 |  |  |  |  | None
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ2A | 3 Wzzard Intelligent End Node + 2 aerials
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ2B
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ2C
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ3A | 6 5V PSUs JC245-250-V
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ3B
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ3C
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ3D
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ3E
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ3F
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ4A | 9 JC10F-050-V 50A-5VDC
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ4B
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ4C
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ4D
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ4E
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ4F
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ4G
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ4H
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ4I
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ5A | 6 8-pin cables
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ5B
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ5C
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ5D
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ5E
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ5F
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ6 | 1 Ethernet cable
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ7 | 1 Wifi antenna
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ8 | 1 DIN holder
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ9 | 1 set of connectors
Advantech | Black squat travel case "VISO" | IMaR |  |  | WZZ | WZZ10 | 1 Power supply unit
Advantech | Black case "Enterprise Ireland" | IMaR | ADAM‐6117PN | 8AI PROFINET Fieldbus Remote I/O | AD1 | AD1A | 2 Data acquisition modules (6117PN) |  |  |  |  | None
Advantech | Black case "Enterprise Ireland" | IMaR | ADAM‐6117PN |  | AD1 | AD1B
Advantech | Black case "Enterprise Ireland" | IMaR | ADAM‐6117EI | 8-AI EtherNet/IP Fieldbus Remote I/O | AD1 | AD2A | 3 Data acquisition modules (6117EI)
Advantech | Black case "Enterprise Ireland" | IMaR | ADAM‐6117EI |  | AD1 | AD2B
Advantech | Black case "Enterprise Ireland" | IMaR | ADAM‐6117EI |  | AD1 | AD2C
Advantech | Black case "Enterprise Ireland" | IMaR | ADAM‐6150EI | 8DI/7DO EtherNet/IP Fieldbus Remote I/O | AD1 | AD3A | 2 Data acquisition modules (6150EI)
Advantech | Black case "Enterprise Ireland" | IMaR | ADAM‐6150EI |  | AD1 | AD3B
Advantech | Black case "Enterprise Ireland" | IMaR |  |  | AD1 | AD4A | 7 Fittings
Advantech | Black case "Enterprise Ireland" | IMaR |  |  | AD1 | AD4B
Advantech | Black case "Enterprise Ireland" | IMaR |  |  | AD1 | AD4C
Advantech | Black case "Enterprise Ireland" | IMaR |  |  | AD1 | AD4D
Advantech | Black case "Enterprise Ireland" | IMaR |  |  | AD1 | AD4E
Advantech | Black case "Enterprise Ireland" | IMaR |  |  | AD1 | AD4F
Advantech | Black case "Enterprise Ireland" | IMaR |  |  | AD1 | AD4G
Bosch | Black case small VISO | IMaR | SCD110 | BLE, accelerometer, Light sensor, magnetometer, Temperature sensor | BOS1 | BOS1A | 10 |  |  |  |  | User guide
Bosch | Black case small VISO | IMaR |  |  | BOS1 | BOS1B
Bosch | Black case small VISO | IMaR |  |  | BOS1 | BOS1C
Bosch | Black case small VISO | IMaR |  |  | BOS1 | BOS1D
Bosch | Black case small VISO | IMaR |  |  | BOS1 | BOS1E
Bosch | Black case small VISO | IMaR |  |  | BOS1 | BOS1F
Bosch | Black case small VISO | IMaR |  |  | BOS1 | BOS1G
Bosch | Black case small VISO | IMaR |  |  | BOS1 | BOS1H
Bosch | Black case small VISO | IMaR |  |  | BOS1 | BOS1I
Bosch | Black case small VISO | IMaR |  |  | BOS1 | BOS1J
Bosch | Bosch cardboard box | IMaR | TDL 110 | Transport Data Logger | BOS2 | BOS2A | 10 |  |  |  |  | None
Bosch | Bosch cardboard box | IMaR |  |  | BOS2 | BOS2B
Bosch | Bosch cardboard box | IMaR |  |  | BOS2 | BOS2C
Bosch | Bosch cardboard box | IMaR |  |  | BOS2 | BOS2D
Bosch | Bosch cardboard box | IMaR |  |  | BOS2 | BOS2E
Bosch | Bosch cardboard box | IMaR |  |  | BOS2 | BOS2F
Bosch | Bosch cardboard box | IMaR |  |  | BOS2 | BOS2G
Bosch | Bosch cardboard box | IMaR |  |  | BOS2 | BOS2H
Bosch | Bosch cardboard box | IMaR |  |  | BOS2 | BOS2I
Bosch | Bosch cardboard box | IMaR |  |  | BOS2 | BOS2J
Shimmer sensing | Shimmer Consensys Bundle Kit | IMaR | Consensys bundle | IMU, ECG, EMG, GSR, Bridge Amplifier+ , Base15 , Biophysical leads, ECG/EMG Electrodes, GSR Electrodes, Straps | SS | SS1 | 1Consensys Base 15U
Shimmer sensing | Shimmer Consensys Bundle Kit | IMaR |  |  | SS | SS2A | 4 Shimmer3 EXG Unit SR47-4-0
Shimmer sensing | Shimmer Consensys Bundle Kit | IMaR |  |  | SS | SS2B
Shimmer sensing | Shimmer Consensys Bundle Kit | IMaR |  |  | SS | SS2C
Shimmer sensing | Shimmer Consensys Bundle Kit | IMaR |  |  | SS | SS2D
Shimmer sensing | Shimmer Consensys Bundle Kit | IMaR |  |  | SS | SS3A | 3 Shimmer3 IMU Unit SR31-7-0
Shimmer sensing | Shimmer Consensys Bundle Kit | IMaR |  |  | SS | SS3B
Shimmer sensing | Shimmer Consensys Bundle Kit | IMaR |  |  | SS | SS3C
Shimmer sensing | Shimmer Consensys Bundle Kit | IMaR |  |  | SS | SS4A | 3 Packet H135SG ECG Electrode
Shimmer sensing | Shimmer Consensys Bundle Kit | IMaR |  |  | SS | SS4B
Shimmer sensing | Shimmer Consensys Bundle Kit | IMaR |  |  | SS | SS4C
Shimmer sensing | Shimmer Consensys Bundle Kit | IMaR |  |  | SS | SS5 | 1 SR-IMU-UNIT-KIT X 2
Shimmer sensing | Shimmer Consensys Bundle Kit | IMaR |  |  | SS | SS6 | 1 SR-EMG-UNIT-KIT
Shimmer sensing | Shimmer Consensys Bundle Kit | IMaR |  |  | SS | SS7 | 1 SR-GSR-UNIT-KIT
Shimmer sensing | Shimmer Consensys Bundle Kit | IMaR |  |  | SS | SS8 | 1 Philips skin temperature probe 21091A
Shimmer sensing | Shimmer Consensys Bundle Kit | IMaR |  |  | SS | SS9A | 2 SH3-Calibration stand
Shimmer sensing | Shimmer Consensys Bundle Kit | IMaR |  |  | SS | SS9B
Advantech | Black case | IMaR | Advantech UNO-220-P4N1AE Industrial Gateway Kit | Industrial Raspberry Pi 4 HAT Gateway Kit | ADD | ADD1A | 3 Advantech UNO-220
Advantech | Black case | IMaR |  |  | ADD | ADD1B
Advantech | Black case | IMaR |  |  | ADD | ADD1C
Advantech | Black case | IMaR |  |  | ADD | ADD3 | 1 Advantech Model EKI-1242 Modbus RTU/TCP to Ethernet/IP
Advantech | Black case | IMaR |  |  | ADD | ADD2 | 1 Advantech unit with 5 Ethernet ports and screw-terminal block
PyCom sensor | Rounded black case | IMaR | SiPy, LoPy4, GPy, FiPy | Low power data logger prototyping units | PY | PY1A | 11 Expansion board IDE plugin, Pybytes and Pymate ready |  |  |  |  | 1 whip aerial missing
PyCom sensor | [5 empty] | PY1B
PyCom sensor | [5 empty] | PY1C
PyCom sensor | [5 empty] | PY1D
PyCom sensor | [5 empty] | PY1E
PyCom sensor | [5 empty] | PY1F
PyCom sensor | [5 empty] | PY1G
PyCom sensor | [5 empty] | PY1H
PyCom sensor | [5 empty] | PY1I
PyCom sensor | [5 empty] | PY1J
PyCom sensor | [5 empty] | PY1K
PyCom sensor | [5 empty] | PY2A | 5 Pytrack motion tracking shield accelerometer and GPS |  |  |  |  | 7 motion sensors
PyCom sensor | [5 empty] | PY2B
PyCom sensor | [5 empty] | PY2C
PyCom sensor | [5 empty] | PY2D
PyCom sensor | [5 empty] | PY2E
PyCom sensor | [5 empty] | PY3A | 5 Pysense 5 sensor shield (accelerometer, humidity,light, pressure, temp. sensors)
PyCom sensor | [5 empty] | PY3B
PyCom sensor | [5 empty] | PY3C
PyCom sensor | [5 empty] | PY3D
PyCom sensor | [5 empty] | PY3E
PyCom sensor | [5 empty] | PY4A | 10 Pyscan three-sensor shield (RFID-NFC, accelerometer and ambient light)
PyCom sensor | [5 empty] | PY4B
PyCom sensor | [5 empty] | PY4C
PyCom sensor | [5 empty] | PY4D
PyCom sensor | [5 empty] | PY4E
PyCom sensor | [5 empty] | PY4F
PyCom sensor | [5 empty] | PY4G
PyCom sensor | [5 empty] | PY4H
PyCom sensor | [5 empty] | PY4I
PyCom sensor | [5 empty] | PY4J
PyCom sensor | [5 empty] | PY5A | 2 LoPy⁴ Four-network LoRa, Sigfox, WiFi, BLE IoT dev. Platform |  |  |  |  | 2 LoPy⁴ Four-network LoRa, Sigfox, WiFi, BLE IoT dev. Platform
PyCom sensor | [5 empty] | PY5B
PyCom sensor | [5 empty] | PY6A | 7 WP8-8-4 IP67 cases for Pysense/Pytrack
PyCom sensor | [5 empty] | PY6B
PyCom sensor | [5 empty] | PY6C
PyCom sensor | [5 empty] | PY6D
PyCom sensor | [5 empty] | PY6E
PyCom sensor | [5 empty] | PY6F
PyCom sensor | [5 empty] | PY6G
PyCom sensor | [5 empty] | PY7A | 9 Universal IP67 pycase black
PyCom sensor | [5 empty] | PY7B
PyCom sensor | [5 empty] | PY7C
PyCom sensor | [5 empty] | PY7D
PyCom sensor | [5 empty] | PY7E
PyCom sensor | [5 empty] | PY7F
PyCom sensor | [5 empty] | PY7G
PyCom sensor | [5 empty] | PY7H
PyCom sensor | [5 empty] | PY7I
PyCom sensor | [5 empty] | PY8A | 10 Green discs with little cables
PyCom sensor | [5 empty] | PY8B
PyCom sensor | [5 empty] | PY8C
PyCom sensor | [5 empty] | PY8D
PyCom sensor | [5 empty] | PY8E
PyCom sensor | [5 empty] | PY8F
PyCom sensor | [5 empty] | PY8G
PyCom sensor | [5 empty] | PY8H
PyCom sensor | [5 empty] | PY8I
PyCom sensor | [5 empty] | PY8J
PyCom sensor | [5 empty] | PY9A | 5 aerials
PyCom sensor | [5 empty] | PY9B
PyCom sensor | [5 empty] | PY9C
PyCom sensor | [5 empty] | PY9D
PyCom sensor | [5 empty] | PY9E
PyCom sensor | [5 empty] | PYA | 2 Wieson WSTPXXXXXXX, 2016.08.18 Rev 02 Antenna
PyCom sensor | [5 empty] | PYB
PyCom sensor | [5 empty] | PYC | 2 Keys
Bosch | Silver "Enterprise Ireland" "Viso" | IMaR | XDK110 | Programmable prototyping platform. Bluetooth or Wireless. Accelerometer, Magnetometer, Gyroscope, Acoustic, Digital light, Humidity, Pressure, Temperature sensors | XD | XD1A | 2 USB - special cable (805-122-541)
Bosch | Silver "Enterprise Ireland" "Viso" | IMaR |  |  | XD | XD1B
Bosch | Silver "Enterprise Ireland" "Viso" | IMaR |  | Bosch XDK110 | XD | XD2 | 1 Bosch XDK 110
Bosch | Silver "Enterprise Ireland" "Viso" | IMaR |  | XDK Gateway | XD | XD3 | 1 Bosch XDK Gateway (Y-shaped)
Bosch | Silver "Enterprise Ireland" "Viso" | IMaR |  | Magnetic studs | XD | XD4A | 6 Magnetic Studs
Bosch | Silver "Enterprise Ireland" "Viso" | IMaR |  | Magnetic studs | XD | XD4B
Bosch | Silver "Enterprise Ireland" "Viso" | IMaR |  | Magnetic studs | XD | XD4C
Bosch | Silver "Enterprise Ireland" "Viso" | IMaR |  | Magnetic studs | XD | XD4D
Bosch | Silver "Enterprise Ireland" "Viso" | IMaR |  | Magnetic studs | XD | XD4E
Bosch | Silver "Enterprise Ireland" "Viso" | IMaR |  | Magnetic studs | XD | XD4F
Bosch | Silver "Enterprise Ireland" "Viso" | IMaR |  | Black bracket | XD | XD5 | 1 Plastic bracket with screws
Bosch | Silver "Enterprise Ireland" "Viso" | IMaR |  | Ribbon cable | XD | XD6 | 1 Ribbon cable with terminals
Bosch | Silver "Enterprise Ireland" "Viso" | IMaR |  | USB B-mini cable | XD | XD7 | 1 USB B-mini cable
Bosch | Silver "Enterprise Ireland" "Viso" | IMaR |  | USB special cable | XD | XD8 | 1 USB - special cable (805-122-541)
Alta | Black PELI 1510 Case | IMaR |  | Can be connected to any kind of variable voltage device, (long range wireless 0-500A AC current meter), Current Monitoring/Current Usage/Amperage Monitoring/Amp Hour Meter (long range wireless 0-20 Amp AC current meter), Can be connected to any kind of variable voltage device, e.g. transducer/sensor that outputs voltage (Long range wireless 1-10VDC voltage meter) | ALT1 | ALT1A | 5 Long range wireless 0-10VDC voltage meter
Alta | Black PELI 1510 Case | IMaR |  | Long range wireless 0-10VDC voltage meter | ALT1 | ALT1B
Alta | Black PELI 1510 Case | IMaR |  | Long range wireless 0-10VDC voltage meter | ALT1 | ALT1C
Alta | Black PELI 1510 Case | IMaR |  | Long range wireless 0-10VDC voltage meter | ALT1 | ALT1D
Alta | Black PELI 1510 Case | IMaR |  | Long range wireless 0-10VDC voltage meter | ALT1 | ALT1E
Alta | Black PELI 1510 Case | IMaR |  | Long range wireless 0-500A AC current meter | ALT1 | ALT2A | 4 long range wireless 0-500A AC current meter
Alta | Black PELI 1510 Case | IMaR |  | Long range wireless 0-500A AC current meter | ALT1 | ALT2B
Alta | Black PELI 1510 Case | IMaR |  | Long range wireless 0-500A AC current meter | ALT1 | ALT2C
Alta | Black PELI 1510 Case | IMaR |  | Long range wireless 0-500A AC current meter | ALT1 | ALT2D
Alta | Black PELI 1510 Case | IMaR |  | Long range wireless 0-500A AC current meter | ALT1 | ALT2E
Alta | Black PELI 1510 Case | IMaR |  | Long range wireless 0-20A AC current meter | ALT1 | ALT3A
Alta | Black PELI 1510 Case | IMaR |  | Long range wireless 0-20A AC current meter | ALT1 | ALT3B
Alta | Black PELI 1510 Case | IMaR |  | Long range wireless 0-20A AC current meter | ALT1 | ALT3C
Alta | Black PELI 1510 Case | IMaR |  | Long range wireless 0-20A AC current meter | ALT1 | ALT3D
Alta | Black PELI 1510 Case | IMaR |  | Whip aerial | ALT1 | ALT4A
Alta | Black PELI 1510 Case | IMaR |  | Whip aerial | ALT1 | ALT4B
Alta | Black PELI 1510 Case | IMaR |  | Whip aerial | ALT1 | ALT4C
Alta | Black PELI 1510 Case | IMaR |  | Ethernet cable | ALT1 | ALT5
Alta | Black PELI 1510 Case | IMaR |  | Long range wireless 0-20mA current meter | ALT1 | ALT6A
Alta | Black PELI 1510 Case | IMaR |  | Long range wireless 0-20mA current meter | ALT1 | ALT6B
Alta | Black PELI 1510 Case | IMaR |  | Long range wireless 0-20mA current meter | ALT1 | ALT6C
Alta | Black PELI 1510 Case | IMaR |  | Long range wireless 0-20mA current meter | ALT1 | ALT6D
Alta | Black PELI 1510 Case | IMaR |  | Long range wireless 0-20mA current meter | ALT1 | ALT6E
Alta | Black PELI 1510 Case | IMaR |  | Ethernet gateway | ALT1 | ALT7 | 1 Ethernet Gateway for long range wireless sensors
Alta | Black PELI 1510 Case | IMaR |  | USB power adapter | ALT1 | ALT8 | 1 USB power jack
Alta | Black PELI 1510 Case | IMaR |  | Power adapter | ALT1 | ALT9 | 1 power adapter
Alta | Silver "Enterprise Ireland" "Viso" | IMaR | MNS2-8-W1-AC-GS | Long range wireless g-force snapchot sensor | AL | AL1A | 5 Long range wireless G-force snapshot sensor
Alta | Silver "Enterprise Ireland" "Viso" | IMaR |  | Long range wireless g-force snapchot sensor | AL | AL1B
Alta | Silver "Enterprise Ireland" "Viso" | IMaR |  | Long range wireless g-force snapchot sensor | AL | AL1C
Alta | Silver "Enterprise Ireland" "Viso" | IMaR |  | Long range wireless g-force snapchot sensor | AL | AL1D
Alta | Silver "Enterprise Ireland" "Viso" | IMaR |  | Long range wireless g-force snapchot sensor | AL | AL1E
Alta | Silver "Enterprise Ireland" "Viso" | IMaR |  | Cellular gateway | AL | AL2 | 1 Cellular gateway 868MHz, for longrange wireless sensors
Alta | Silver "Enterprise Ireland" "Viso" | IMaR |  | Long range wireless advanced vibration meter | AL | AL6A | 5 Long range wireless advanced vibration sensor
Alta | Silver "Enterprise Ireland" "Viso" | IMaR |  | Long range wireless advanced vibration meter | AL | AL6B
Alta | Silver "Enterprise Ireland" "Viso" | IMaR |  | Long range wireless advanced vibration meter | AL | AL6C
Alta | Silver "Enterprise Ireland" "Viso" | IMaR |  | Long range wireless advanced vibration meter | AL | AL6D
Alta | Silver "Enterprise Ireland" "Viso" | IMaR |  | Long range wireless advanced vibration meter | AL | AL6E
Alta | Silver "Enterprise Ireland" "Viso" | IMaR |  | Whip aerial | AL | AL3A
Alta | Silver "Enterprise Ireland" "Viso" | IMaR |  | Whip aerial | AL | AL3B
Alta | Silver "Enterprise Ireland" "Viso" | IMaR |  | Whip aerial | AL | AL3C
Alta | Silver "Enterprise Ireland" "Viso" | IMaR |  | Whip aerial | AL | AL3D
Alta | Silver "Enterprise Ireland" "Viso" | IMaR |  | Whip aerial | AL | AL3E
Alta | Silver "Enterprise Ireland" "Viso" | IMaR |  | Whip aerial | AL | AL3F
Alta | Silver "Enterprise Ireland" "Viso" | IMaR |  | Spatula aerial | AL | AL4 | 1 Spatula aerial
Alta | Silver "Enterprise Ireland" "Viso" | IMaR |  | USB Power adapter | AL | AL5 | 1 USB power supply with cable
Laird connectivity | Black squat travel case "VISO" | IMaR | 450-00039-K1 | General Purpose Gateway, Bluetooth, LTE, USB | LA1 | LA1A | 1 Laird Sentrius Gateway
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Sentrius MG100 | LA1 | LA2A | 1 Laird Sentrius MG100
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Sentrius IG60 | LA1 | LA3A | 1 Laird Sentrius IG60
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT510 | LA1 | LA4A | 20 Sentrius BT510 Bluetooth v5 long range IP67 multisensor
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT511 | LA1 | LA4B
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT512 | LA1 | LA4C
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT513 | LA1 | LA4D
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT514 | LA1 | LA4E
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT515 | LA1 | LA4F
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT516 | LA1 | LA4G
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT517 | LA1 | LA4H
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT518 | LA1 | LA4I
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT519 | LA1 | LA4J
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT520 | LA1 | LA4K
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT521 | LA1 | LA4L
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT522 | LA1 | LA4M
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT523 | LA1 | LA4N
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT524 | LA1 | LA4O
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT525 | LA1 | LA4P
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT526 | LA1 | LA4Q
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT527 | LA1 | LA4R
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT528 | LA1 | LA4S
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Setrius BT529 | LA1 | LA4T
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Ethernet cable | LA1 | LA5A | 1 black ethernet cable
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Whip aerial | LA1 | LA6A | 6 Whip aerial in a bag
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Spatula aerial | LA1 | LA7A | Whip aerial (flatter, longer)
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Whip aerial | LA1 | LA8A | Whip aerial (longer)
Laird connectivity | Black squat travel case "VISO" | IMaR |  | Power adapter | LA1 | LA9A | Power supply unit
|  | B109 | xplorer CISC-XPL-HW-000024 |  | XP | XP1A |  | 1
|  | B109 |  |  |  | XP2A |  | 1
|  | B109 |  |  |  | XP3A |  | 1
|  | B109 |  |  | PL | PL1A |  | 1
|  | B109 |  |  |  | PL1B |  | 1
|  | B109 |  |  |  | PL2 |  | 1 |  |  | xplorer
|  | B109 |  |  | SU | SU1 |  | 1
|  | B109 |  |  | AAR | AAR1 |  | 1
|  | B109 |  |  | ARO | ARO1 |  | 1
|  | B109 |  |  | C1 |  |  | 1
|  | B109 | Aerial for CISC |  | CS | CS1
|  | B109 | Impedance emulator |  |  | CS2A
|  | B109 | Phase shifter |  |  | CS2B
|  | B109 | Mini-circuits USB power sensor |  |  | CS3
|  | B109 | Heat fins |  |  | CS4
|  | B109 | Aerial base disc |  |  | CS5
|  | B109 | RF Power amplifier |  | BON | BON1 |  | 1
|  | B109 | Dell Latitude 3510 |  | DE | DE1 |  | 1
Alta | Black PELI 1510 Case | IMaR (under table) | MNS2-8-IN-TS-HT-L03 | Long range wireless high temperature Sensors (Industrial) | AL1 | AL1A | 5
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless high temperature Sensors (Industrial) | AL1 | AL1B
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless high temperature Sensors (Industrial) | AL1 | AL1C
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless high temperature Sensors (Industrial) | AL1 | AL1D
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless high temperature Sensors (Industrial) | AL1 | AL1E
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor (Industrial) | AL1 | AL2A | 10
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor (Industrial) | AL1 | AL2B
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor (Industrial) | AL1 | AL2C
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor (Industrial) | AL1 | AL2D
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor (Industrial) | AL1 | AL2E
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor (Industrial) | AL1 | AL2F
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor (Industrial) | AL1 | AL2G
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor (Industrial) | AL1 | AL2H
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor (Industrial) | AL1 | AL2I
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor (Industrial) | AL1 | AL2J
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor | AL1 | AL3A | 9
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor | AL1 | AL3B
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor | AL1 | AL3C
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor | AL1 | AL3D
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor | AL1 | AL3E
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor | AL1 | AL3F
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor | AL1 | AL3G
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor | AL1 | AL3H
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor | AL1 | AL3I
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless humidity sensor | AL1 | AL3J
Alta | Black PELI 1510 Case | IMaR (under table) | MNS2-8-IN-DC-CF-L01 | Long range wireless dry contact sensor | AL1 | AL4A | 5
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless dry contact sensor | AL1 | AL4B
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless dry contact sensor | AL1 | AL4C
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless dry contact sensor | AL1 | AL4D
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless dry contact sensor | AL1 | AL4E
Alta | Black PELI 1510 Case | IMaR (under table) | MNS2-8-W2-US-ST-SW | Long range wireless ultrasonic sensor | AL1 | AL5A | 2
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless ultrasonic sensor | AL1 | AL5B
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless Pressure Sensor | AL1 | AL11A
Alta | Black PELI 1510 Case | IMaR (under table) |  | Long range wireless Pressure Sensor | AL1 | AL11B
Alta | Black PELI 1510 Case | IMaR (under table) |  |  | AL1 | AL6A | 15 whip aerials (5 in each bag)
Alta | Black PELI 1510 Case | IMaR (under table) |  |  | AL1 | AL6B
Alta | Black PELI 1510 Case | IMaR (under table) |  |  | AL1 | AL6C
Alta | Black PELI 1510 Case | IMaR (under table) |  |  | AL1 | AL7 | 1 black ethernet cable
Alta | Black PELI 1510 Case | IMaR (under table) |  |  | AL1 | AL8 | 1 USB power jack
Alta | Black PELI 1510 Case | IMaR (under table) |  |  | AL1 | AL9 | 1 USB mains power adapter
Alta | Black PELI 1510 Case | IMaR (under table) |  |  | AL1 | AL10 | 1 Ethernet Gateway for long range wireless sensors
DATAQ | Black case "VISO" | IMaR | DI-710 | USB/Ethernet Data Logger | DAT | DAT1 | 1 DI-710-UHS "Windaq Unlocked" |  |  |  |  | SD card
DATAQ | Black case "VISO" | IMaR |  |  | DAT | DAT2 | 1 SL206 current probe |  |  |  |  | Grey USB cable
DATAQ | Black case "VISO" | IMaR |  |  | DAT | DAT3 | 1 12V Power unit |  |  |  |  | Flathead screwdriver
DATAQ | Black case "VISO" | IMaR |  |  | DAT | DAT4 | 1 9V battery |  |  |  |  | Panasonic 2GB SD card
DATAQ | Black case "VISO" | IMaR |  |  | DAT | DAT5 | 1 Switching power supply |  |  |  |  | Screw terminal block
DATAQ | Black case "VISO" | IMaR |  |  | DAT | DAT6 | 1 DATAQ Instruments Resource CD
ALTA | Cardboard box | IMaR | MNS2-8-IN-TS-WT-L03 | Wireless Water Temperature Sensor | ALW | ALW1 | 10 water temperature sensors
|  |  |  | Wireless Water Temperature Sensor |  | ALW2
|  |  |  | Wireless Water Temperature Sensor |  | ALW3
|  |  |  | Wireless Water Temperature Sensor |  | ALW4
|  |  |  | Wireless Water Temperature Sensor |  | ALW5
|  |  |  | Wireless Water Temperature Sensor |  | ALW6
|  |  |  | Wireless Water Temperature Sensor |  | ALW7
|  |  |  | Wireless Water Temperature Sensor |  | ALW8
|  |  |  | Wireless Water Temperature Sensor |  | ALW9
|  |  |  | Wireless Water Temperature Sensor |  | ALW10
[6 empty] | ALW11 | 2 Antennas
ALW12
Note on L199: Agritech:
Note on L207: Agritech:
Note on L208: Agritech:
Note on L209: Agritech:
Note on L211: Agritech:
Note on L300: Agritech:
Note on L303: Agritech:
Note on L304: Agritech:

## Sensors Details
[10 empty] | Sensing Parameter | [13 empty] | Connectivity
Location | Box code | Manufacturer | Product name | Product description | CE Number | Data sheet | Operating manual | IP rating | data interface | Humidity | Pressure | Temperature | Light | Aucoustics | Voltage | Current | Magnetometer | Acclerometer | Vibration | Electrode | G-force | GPS | Gyroscope | BLE | WFI | LORA | Ethernet | Cellular | NFC/RFID | USB | Battery | Wireless range | Memory | License | IoT | Software | Security | Network | Newtwork password | Powerpoint link | comments | info
IMaR |  | Bosch sensors | CISS - Connected Industrial Sensor | Multi-sensor MEMS device, capable of detecting acceleration, vibration and a variety of ambient conditions | 2019 0083 | https://developer.bosch-iot-suite.com/iot-devices/ciss-sensor/ |  | IP54 | Mobile app - https://play.google.com/store/apps/details?id=com.bosch.virtualciss&hl=en_US Python interface - https://www.bosch-connectivity.com/media/downloads/ciss/ciss_demo_script_python_operating_instructions.pdf | Range - 20 – 90% (non-condensing) Accuracy - max. ±7% at +20 °C; max. ±10% at -20 °C Resolution - 0.01 % rH Sampling rate <= 1 Hz | Range - 300 - 1100 hPa Accuracy - ± 1.5 hPa Resolution - 0.01 hPa Sampling rate <= 1hz | Range - -20 °C ... +80 °C Accuracy - max. ±2 °C + 3% T °C Resolution - 0.1 C Sampling rate <= 1hz | Range - 0 … 2112800 Lux Accuracy - ± 15 % Resolution - 1 Lux Sampling rate <= 1hz | Sampling rate <= 1hz |  |  | Range ± 1300 µT (X, Y-Axis); ± 2500 µT (Z-Axis) Accuracy - 0.06 x M ± 25µT Resolution 1.0 μT Sampling rate - <= 100 hz | Range - ± 2, 4, 8, 16 g (14 bit resolution) Accuracy ± 50 mg Resolution 1mg (± 2, 4, 8, 16g) Sampling rate <= 100 Hz |  |  |  |  | Range - ± 2000 °/s Accuracy -± 1 °/s Resolution - 1 °/s Sampling rate <= 100 Hz | 4 | [5 empty] | 2 | No/USB power supply |  | 2 mb
IMaR | BOS2 | Bosch sensors | TDL 110 | Transport Data Logger | 2019 0083 | https://www.bosch-connectivity.com/media/product_detail_tdl/datasheet_tdl110.pdf | https://monitoring-shop.de/media/documents/bosch-tdl-user-manual.pdf | IP54 | Mobile app - google play or apple store https://play.google.com/store/apps/details?id=com.bosch_connectivity.tdl | Accuracy (range) ± 5 % rH typical / ± 10 % rH maximum (20 % rH ... 80 % rH at 25 °C) Resolution - 1% rH |  | -25 °C … +80 °C | [5 empty] | ±8 g per axis ±13.8 g three-dimensional | [5 empty] | 4 | [6 empty] | 1400 mAh | Up to 40m | 2 Years (15 min. measuring cycle, typical usage) | https://www.bosch.com/licenses-and-patents/acquire-bosch-licenses/ | https://bosch.io/iot-technology/ | https://www.bosch-connectivity.com/media/downloads/tdl/tdl_cloudbeta_2.pdf |  |  |  | TDL 110 | Data Logger
IMaR | BOS1 | Bosch sensors | SCD - Sense Connect Detect | BLE, accelerometer, Light sensor, magnetometer, Temperature sensor | 2019 0083 | https://www.bosch-connectivity.com/media/product_detail_scd/2019_24_05_datasheet_scd.pdf | https://www.bosch-connectivity.com/media/product_detail_scd/scd-user-manual.pdf | IP67 | Mobile app - google play or app store https://play.google.com/store/apps/details?id=com.bosch.scdsensor |  |  | Range -20 °C ... +85 °C Accuracy - ± 0.25 °C Resolution – 0.1 °C Sampling – 0.05 Hz | Range - 0 … 188000 Lux Accuracy - ± 15 % Resolution – 1 Lux Sampling - 1.25, 10 HZ |  | 3V |  | Range - ± 1300 µT (X, Y-Axis) ± 2500 µT (Z-Axis) Accuracy - ± 5 % Resolution- 10 µT Sampling – 10 Hz | Range - ± 200 g Accuracy - ± 10 Resolution - % 0.1 g Sampling - 400, 800, 1600, 3200, 6400 HZ |  |  |  |  | Yes | BLE 4.2 | [6 empty] | Lithium battery | Up to 40m | 1MB | https://www.bosch.com/licenses-and-patents/acquire-bosch-licenses/ | https://bosch.io/iot-technology/ | OSS |  |  |  | SCD sense
IMaR | XD | Bosch sensors | XDK110 | Programmable prototyping platform. Bluetooth or Wireless. Accelerometer, Magnetometer, Gyroscope, Acoustic, Digital light, Humidity, Pressure, Temperature sensors | 2019 0083 | https://www.bosch-connectivity.com/media/downloads/xdk/xdk_node_110_combined_datasheet.pdf | https://manualzz.com/doc/30098284/user-guide---bosch-xdk---bosch-connected-devices-and-solu... | IP30 | https://play.google.com/store/apps/details?id=com.bosch.VirtualXdk | 10…90 %rH (non-condensing) [limited by XDK operating conditions] Sampling – 182 Hz | 300…1100 hPa Sampling – 182 Hz | -20 ºC ... 60 °C, (0 °C … 45 °C for battery charging) Sampling – 182 Hz | 0.045 lux … 188,000 lux ; 22-bit |  | 5 V DC | 500mA | ±1300 μT (X,Y-Axis); ±2500μT (Z-Axis) Sampling – 300 Hz | ±2 … ±16 g (programmable) Sampling - 2000 Hz |  |  |  |  | ±125 º/s … ±2000 º/s (programmable) Sampling – 2000 Hz | [7 empty] | Internal Li-Ion rechargeable battery |  | SD card | https://www.bosch.com/licenses-and-patents/acquire-bosch-licenses/ | https://bosch.io/iot-technology/ | https://developer.bosch.com/products-and-services/sdks/xdk/downloads |  |  |  | XDK110
IMaR | SS | Shimmer sensing | Consensys bundle | IMU, ECG, EMG, GSR, Bridge Amplifier+ , Base15 , Biophysical leads, ECG/EMG Electrodes, GSR Electrodes, Straps | 2019 0083 | https://www.shimmersensing.com/products/consensys-ecg-development-kits-update |  | N/A | [26 empty] | https://shimmersensing.com/news/consensys-upgrade-to-new-version-1-6-0/ | https://shimmersensing.com/news/consensys-upgrade-to-new-version-1-6-0/
IMaR | DAT | Dataq | DI-710-UHS Bundle | USB/Ethernet Data Logger | 2019 0083 | https://www.dataq.com/resources/pdfs/datasheets/710ds.pdf | https://www.dataq.com/resources/pdfs/manuals/di710_manual.pdf | N/A | N/A |  |  | 0°C-70°C |  |  | 9-36 VDC | [11 empty] | Yes (RJ45 ) |  |  | Yes | 9V battery for probe |  | 16mb to 2GB SD card | https://www.dataq.com/resources/pdfs/manuals/windaq_software.pdf | https://www.dataq.com/products/di-710/di-710-uhs.html | WINDAQ Acquisition 1000Hz (free), 4,800Hz paid |  |  |  |  | Data Logger
IMaR |  | Advantech | GQ244614 |  |  | see document | N/A | Industrial comms | [22 empty] | 3.6V 2400 mAH Lithium Thionyl Chloride AA batteries (nodes)
IMaR | AD1 | Advantech | ADAM‐6117EI‐AE | 8-AI EtherNet/IP Fieldbus Remote I/O | 2019 0083 | https://advdownload.advantech.com/productfile/PIS/ADAM-6117EI/Product%20-%20Datasheet/ADAM-6117EI_DS20140421173545.pdf | N/A | N/A | Webaccess | 20~95 %RH |  | -10~70 °C |  |  | 10~30 VDC | [11 empty] | Yes |  |  |  | N/A |  | N/A | 0 | https://www.advantech.com/embedded-boards-design-in-services/embedded-iot/iotsoftwaresolutionsanddistribution | https://www.advantech.com/industrial-automation/webaccess |  |  |  |  | Industrial Ethernet Remote I/O modules
IMaR | ADD | Advantech | EKI‐1242EIMS‐A | Modbus RTU/TCP to EtherNet/IP Fieldbus Gateway | 2019 0083 | https://advdownload.advantech.com/productfile/PIS/EKI-1242EIMS/Product%20-%20Datasheet/EKI-1242EIMS_IEIMS_DS(01.17.19)20190119180905.pdf | http://advdownload.advantech.com/productfile/Downloadfile5/1-1JUZ4WT/EKI-1242&EKI-1242I%20Series_UM_03052018.pdf | IP30 | Webaccess | [21 empty] | N/A |  | N/A | https://www.advantech.com/products/software/sub_4ba7108e-4559-4637-bc44-417a3f0b48a1 | https://www.advantech.com/embedded-boards-design-in-services/embedded-iot/iotsoftwaresolutionsanddistribution | https://www.advantech.com/industrial-automation/webaccess |  |  |  |  | Data exchange between Modbus TCP to EtherNet/IP
IMaR | ADD | Advantech | EKI‐2525LI‐AE | Ethernet Switch - 5FE Slim type Unmanaged Industrial | 2019 0083 | https://advdownload.advantech.com/productfile/PIS/EKI-2525LI/file/EKI-2525LI_DS(20191015)20191016105154.pdf | http://advdownload.advantech.com/productfile/Downloadfile2/1-2CKD41/EKI-2525_2528_Manual_Ed1.pdf | IP40 | Webaccess |  |  | -40 ~ 75 °C |  |  | 12 ~ 48 VDC, redundant dual inputs | [15 empty] | N/A |  | N/A | https://www.advantech.com/products/software/sub_4ba7108e-4559-4637-bc44-417a3f0b48a2 | https://www.advantech.com/embedded-boards-design-in-services/embedded-iot/iotsoftwaresolutionsanddistribution | https://www.advantech.com/industrial-automation/webaccess |  |  |  |  | Industrial Ethernet Switch
IMaR | AD1 | Advantech | ADAM‐6117PN‐AE | 8AI PROFINET Fieldbus Remote I/O | 2019 0083 | https://advdownload.advantech.com/productfile/PIS/ADAM-6117PN/Product%20-%20Datasheet/ADAM-6117PN_DS20140421173727.pdf | N/A | N/A | Webaccess |  |  | -10 ~ 70°C | [18 empty] | N/A |  | N/A | https://www.advantech.com/products/software/sub_4ba7108e-4559-4637-bc44-417a3f0b48a3 | https://www.advantech.com/embedded-boards-design-in-services/embedded-iot/iotsoftwaresolutionsanddistribution | https://www.advantech.com/industrial-automation/webaccess |  |  |  |  | Fieldbus Remote I/O
IMaR | AD1 | Advantech | ADAM‐6150EI‐AE | 8DI/7DO EtherNet/IP Fieldbus Remote I/O | 2019 0083 | https://advdownload.advantech.com/productfile/PIS/ADAM-6150EI/file/ADAM-6150_6151_6156_DS20210205095841.pdf | N/A | N/A | Webaccess | 20 ~ 95% RH |  | -10 ~ 70°C |  |  | 8 ~ 35 VDC | 100 mA | [14 empty] | N/A |  | N/A | https://www.advantech.com/products/software/sub_4ba7108e-4559-4637-bc44-417a3f0b48a4 | https://www.advantech.com/embedded-boards-design-in-services/embedded-iot/iotsoftwaresolutionsanddistribution | https://www.advantech.com/industrial-automation/webaccess |  |  |  |  | EtherNet/IP Fieldbus Remote I/O
IMaR |  | Advantech | C‐DAQ‐MIC7500‐1802 | Signal Acquisition System, Intel 6th Generation Core i Processor Compact Fanless | 2019 0083 | https://buy.advantech.eu/Compact-Tower-Systems/Data-Acquisition-Systems-DAQ-Starter-Kits/model-C-DAQ-MIC7500-1802.htm | N/A | N/A | Webaccess | [21 empty] | N/A |  | 4GB | https://www.advantech.com/products/software/sub_4ba7108e-4559-4637-bc44-417a3f0b48a5 | https://www.advantech.com/embedded-boards-design-in-services/embedded-iot/iotsoftwaresolutionsanddistribution | https://www.advantech.com/industrial-automation/webaccess |  |  |  |  | Signal Acquisition 24-bit, 216KS/s
IMaR | ADD | Advantech | UNO-220-P4N1AE | Industrial Raspberry Pi 4 HAT Gateway Kit | 2019 0083 | https://www.mouser.ie/datasheet/2/638/UNO_220_DS_102920_20201029162326-2010430.pdf | https://advdownload.advantech.com/productfile/Downloadfile5/1-1X6O9AD/UNO-220_EN_AdvRaspbian_User%20Manual.pdf | IP40 | Webaccess | 10 ~ 95% RH |  | 0 ~ 50 °C | [18 empty] | RTC |  | N/A | https://www.advantech.com/products/software/sub_4ba7108e-4559-4637-bc44-417a3f0b48a6 | https://www.advantech.com/embedded-boards-design-in-services/embedded-iot/iotsoftwaresolutionsanddistribution | (Raspberry Pi) |  |  |  | UNO-220-P4N1AE
IMaR |  | Advantech | PCIE-1802-AE | Dynamic Signal Acquisition PCIE Card, 216 kS/s, 24-bit, 8/4-ch | 2019 0083 | https://advdownload.advantech.com/productfile/PIS/PCIE-1802/file/PCIE-1802_L_DS(010720)20200115172635.pdf | N/A | N/A | Webaccess | [22 empty] | 100m line sight |  | https://www.advantech.com/products/software/sub_4ba7108e-4559-4637-bc44-417a3f0b48a7 | https://www.advantech.com/embedded-boards-design-in-services/embedded-iot/iotsoftwaresolutionsanddistribution | [5 empty] | 24-bit resolution ADCs with 115 dB dynamic range
IMaR | PH1 | erbessd instruments | Phantom 12 Pack CBM sensors | Wireless Machine Sensors | 2019 0083 | https://www.erbessd-instruments.com/products/wireless-vibration-sensor | https://www.erbessd-instruments.com/docs/phantom/ | IP67 | DigivibeMX/Firmware Updates via Phantom Manager (iOS & Android) |  |  | -40 to +80 °C |  |  | 3.6V | 5-1000A |  | Yes | Yes |  |  |  |  | 5 | Yes |  | Yes |  |  | Yes | 3.6 V Li – TL-5935 |  | N/A |  | https://www.erbessd-instruments.com/digivibemx/ | Digivibe |  | "PHANTOMxx" | 88888888 | Phantom 12 Pack CBM sensors | Monitor machine vibration and alart on deviations.
IMaR | WZZ | Advantech | BB-WSK-NRG-2 | Wzzard Mesh Energy Monitoring Starter Kit | 2019 0083 | https://advdownload.advantech.com/productfile/PIS/BB-WSK-NRG-2/file/BB-WSK-NRG-2_0421ds20210203031249.pdf | http://advdownload.advantech.com/productfile/Downloadfile3/1-1KWWHKX/2003BNRG00_BB-WSK-NRG-2_1618m.pdf | IP67 | node red appllication | [6 empty] | Range - 0.3 to 50 A Accuracy ±2.2% Sampling rate - 10 seconds | [14 empty] | N/A |  |  | http://www.apache.org/licenses/LICENSE-2.0 | https://www.advantech.com/products/a59cbfec-bc02-4069-beda-db0cb3cd02e4/bb-wsk-nrg-2/mod_de06dc19-f51a-441f-b23d-604777fb0668 | https://www.advantech.com/industrial-automation/webaccess |  |  |  | BB-WSK-NRG-2
IMaR |  | Digi international | XGI-2PCZ7-EL1-W0 | Digi XBee Industrial Gateway - ZigBee Pro to CAT 1 |  | https://www.digikey.ie/htmldatasheets/production/2886433/0/0/1/digi-xbee-industrial-gateway-.html |  | Industrial | Python 2.7, AT commands | [15 empty] | Yes |  |  | LTE | [12 empty] | XBee Industrial Gateway |  | low power data logger for transportation / warehouse
IMaR | MU | Multitech systems | 591-MTCDTIP-L4E1-275L-868-ND | IoT gateway LoRa networks |  | https://www.multitech.com/documents/publications/data-sheets/86002223.pdf | https://www.multitech.com/documents/publications/manuals/installation-guides/82102803_onscreen.pdf | IP67 | Yocto Software / Lighttpd web server |  |  | -40° to +70° C |  |  | 48Vdc | [6 empty] | Yes |  | 4.1 | Yes | Yes | Yes | LTE |  | 2 | lithium battery |  | Micro SD (256 MB Flash Memory) |  | https://www.multitech.com/brands/multiconnect-conduit-ip67 | https://www.multitech.com/brands/mpower |  |  |  | Mutitech systems | ruggedized IoT gateway solution |  | low power data logger over gateway / app
IMaR | PY | PyCom sensor nodes & expansion boards | SiPy, LoPy4, GPy, FiPy | Low power data logger prototyping units | 2019 0069 | https://pycom.io/webshop/#dev | Product info & Datasheets (pycom.io) | with additional case (IP67) | Python with Atom 1.50 or VS code | Yes |  | Yes | Yes | Yes |  |  | Yes | Yes |  |  |  | Yes | Yes | Yes | Yes | Yes | Yes | LTE | Yes | Yes | Yes |  | SD card | https://docs.pycom.io/license/ | https://pycom.io/ | Install pymakr onto Atom |  | fipy-wlan-XXXX | www.pycom.io |  | Supported all the listed sensors and connectivity with expansion boards. |  | low power data logger prototyping unit
IMaR | LA1 | Laird connectivity | 450-00039-K1 | General Purpose Gateway, Bluetooth, LTE, USB |  | https://www.lairdconnect.com/iot-devices/iot-gateways/sentrius-mg100-gateway-lte-mnb-iot-and-bluetooth-5 |  | Industrial | Bluegrass Cloud porta | [14 empty] | 5 |  |  |  | LTE |  |  |  |  | SD card |  | https://www.lairdconnect.com/market/commercial-iot |  |  |  |  | Laird MG100 | Bluetooth v5.0,4G LTE Gateway, USB |  | bluetooth/ micro SD datalogger. see product link on more details
IMaR | LA1 | Laird connectivity | 455-00028 | General Purpose Gateway 802.11, Bluetooth, LoRaWAN, Ethernet |  | https://connectivity-staging.s3.us-east-2.amazonaws.com/2019-04/CS-PB-RG1xx-GATEWAY_v1_3.pdf |  | IP67 | LORAWAN, bluetooth, wifi, ethernet | [14 empty] | Yes | Yes | Yes | Yes | [7 empty] | https://www.lairdconnect.com/market/commercial-iot |  |  |  |  | Laird BT510 | Gateway |  | high speed 16 channel data logger
IMaR | LA1 | Laird connectivity | 455-00081 | General Purpose IoT Gateway 802.11ac, Bluetooth, Ethernet, RS-232, RS-422/485, USB |  | https://connectivity-staging.s3.us-east-2.amazonaws.com/2019-02/CS-PB-IG60-GREENGRASS_v1_0_1.pdf |  | Industrial | AWS IoT Greengrass | [14 empty] | Yes | Yes |  |  | LTE |  | 2 |  |  | SD card |  | https://www.lairdconnect.com/market/commercial-iot |  |  |  |  | Laird IG60 | Gateway |  | various industril comm converters focusing to capture data and convert to send over an ethernet for processing. etc
IMaR | AL | ALTA wireless sensors | MNG2-8-3C3I-SC-B1-ND | 3G Cellular Gateway |  | https://www.mouser.ie/datasheet/2/945/ADG-03-ALTA-Cellular-Gateways-Data-Sheet-1494002.pdf | https://monnit.blob.core.windows.net/site/documents/gateways/3G/3C3N-B1-ND-ADS-01.pdf | Industrial | iMONNIT |  |  | N/A |  |  | 5.5 VDC | 900 mA | [11 empty] | 3G |  |  | Rechargeable Lithium Polymer (Optional Battery Backup) | 1,000+ ft. non-line-of-sight | 50000 sensor messages | Standard License (No reselling of software), Reseller License (https://www.monnit.com/products/software/monnit-mine/mine-reseller/MNW-MI-RL/) | https://www.monnit.com/ALTA/ | https://www.monnit.com/products/software/ |  |  |  | ALTA 3G cellular gateway | Alta 3G International Cellular Gateway |  | 8 channel 216 kS/s, 24-bit data acquistion card.
IMaR | ALT1 | ALTA wireless sensors | MNG2-8-EGW-CCE | Ethernet Gateway, General Purpose. Modbus, UDP/TCP, DHCP, RJ-45 | 2019 0069 | http://resources.monnit.com/content/documents/datasheets/ALTA/ADG-12-ALTA-EGW4-Gateway-Data-Sheet.pdf | https://monnit.blob.core.windows.net/site/documents/gateways/EGW4/EGW-CCE-EGW4-AUG-01.pdf | Industrial | iMONNIT | [5 empty] | 5.0 VDC | 1A | [14 empty] | N/A | 1,200+ ft non-line-of-sight | 30000 sensor messages | Standard License (No reselling of software), Reseller License (https://www.monnit.com/products/software/monnit-mine/mine-reseller/MNW-MI-RL/) | https://www.monnit.com/ALTA/ | https://www.monnit.com/products/software/ |  |  |  | ALTA Ethernet gateway | Alta Ethernet Gateway |  | off the shelf condition monitoring sensors
IMaR | AL1 | ALTA wireless sensors | MNS2-8-IN-TS-HT-L03 | Wireless High Temperature Sensor | 2019 0069 | https://www.mouser.ie/datasheet/2/945/ADS-025-High-Temperature-Sensor-Data-Sheet-1494158.pdf | N/A | Industrial | iMONNIT |  |  | Range - -50°C to +370°C Acc - +/- 3.3°C |  |  | 2.0-3.8 VDC | [15 empty] | 2 * 1.5 V AA sized batteries | 1,200+ ft non-line-of-sight | Datalogs 2000 to 4000 readings | Standard License (No reselling of software), Reseller License (https://www.monnit.com/products/software/monnit-mine/mine-reseller/MNW-MI-RL/) | https://www.monnit.com/ALTA/ | https://www.monnit.com/products/software/ | Encrypt-RF® (256-bit key exchange and AES-128 CTR) |  |  | ALTA wireless high temperature sensor | ALTA Industrial Wireless High Temperature Sensor |  | capture real-time power data to understand a machine characteristics, integrate data with other sensors for predictive maintenance / condition monitoring / product improvement
IMaR | ALW | ALTA wireless sensors | MNS2-8-IN-TS-WT-L03 | Wireless Water Temperature Sensor | 2019 0069 | https://www.mouser.ie/datasheet/2/945/ADS-040-Water-Temperature-Sensor-Data-Sheet-1494027.pdf | N/A | Industrial | iMONNIT |  |  | Range- -40°C to +100°C Accuracy - ± +/- 1% | [18 empty] | 2 * 1.5 V AA sized batteries | 1,200+ ft non-line-of-sight | 3200 sensor messages | Standard License (No reselling of software), Reseller License (https://www.monnit.com/products/software/monnit-mine/mine-reseller/MNW-MI-RL/) | https://www.monnit.com/ALTA/ | https://www.monnit.com/products/software/ | Encrypt-RF® (256-bit key exchange and AES-128 CTR) |  |  |  | ALTA Industrial Wireless Water Temperature Sensor |  | plug and play propritery wireless protocol sensors with 3G/ethernet to enable capturing realtime data. typical usecase. warehouse TRh monitoring, warehouse activity monitoring, high temperature, pressure, power menasurement for process understanding | the gateways come unlocked. contact manufacturer with the order number from invoice if needed. We have licenses for the Monnit mine software.. They are available in the CD which are in the boxes https://www.monnit.com/support/api/
IMaR | AL1 | ALTA wireless sensors | MNS2-8-IN-HU-RH | Wireless Humidity Sensor | 2019 0069 | https://www.mouser.ie/datasheet/2/945/ADS-016-Humidity-Sensor-Data-Sheet-1493986.pdf | https://monnit.blob.core.windows.net/site/documents/sensors/humidity/HU-RH-AUG-01.pdf | Industrial | iMONNIT | Yes |  | -40°C to +80°C |  |  | 2.0-3.8 VDC | [15 empty] | 2 * 1.5 V AA sized batteries | 1,200+ ft non-line-of-sight | 2000 to 4000 sensor messages | Standard License (No reselling of software), Reseller License (https://www.monnit.com/products/software/monnit-mine/mine-reseller/MNW-MI-RL/) | https://www.monnit.com/ALTA/ | https://www.monnit.com/products/software/ | Encrypt-RF® (256-bit key exchange and AES-128 CTR) |  |  | ALTA wireless humidity sensor | ALTA Industrial Wireless Humidity Sensor |  | sensor node development which can use Zigbee protocol to send data to cloud | needs active data plan. https://dataplans.digikey.com/
IMaR | AL1 | ALTA wireless sensors | MNS2-8-W1-HU-RH | Wireless Humidity Sensor | 2019 0069 | https://www.mouser.ie/datasheet/2/945/ADS-016-Humidity-Sensor-Data-Sheet-1493986.pdf | https://monnit.blob.core.windows.net/site/documents/sensors/humidity/HU-RH-AUG-01.pdf | Industrial | iMONNIT | Yes |  | -40°C to +80°C |  |  | 2.0-3.8 VDC | [15 empty] | 2 * 1.5 V AA sized batteries | 1,200+ ft non-line-of-sight | 2000 to 4000 readings | Standard License (No reselling of software), Reseller License (https://www.monnit.com/products/software/monnit-mine/mine-reseller/MNW-MI-RL/) | https://www.monnit.com/ALTA/ | https://www.monnit.com/products/software/ | Encrypt-RF® (256-bit key exchange and AES-128 CTR) |  |  |  | Alta Humidity Sensor |  | LTE Cat 4 mLinux Conduit IP67 Geolocation Base Station 16-channel, Europe 868 MHz, with GNSS + Wi-Fi/Bluetooth and Accessory Kit | use lopy to develop wireless sensors. can connect the gateway to custom/ things network for data acess
IMaR | AL1 | ALTA wireless sensors | MNS2-8-W2-US-ST-SW | Wireless Ultrasonic Distance Sensor | 2019 0069 | https://www.mouser.ie/datasheet/2/945/ADS-064-Ultrasonic-Sensor-Data-Sheet-1494068.pdf | N/A | Industrial | iMONNIT |  |  | Range -18°C to 55°C (alkaline), range -40°C to 85°C (lithium) |  |  | 2.0-3.8 VDC | [15 empty] | 2 * 1.5 V AA sized batteries | 1,200+ ft non-line-of-sight | Up to 3200 sensor messages | Standard License (No reselling of software), Reseller License (https://www.monnit.com/products/software/monnit-mine/mine-reseller/MNW-MI-RL/) | https://www.monnit.com/ALTA/ | https://www.monnit.com/products/software/ | Encrypt-RF® (256-bit key exchange and AES-128 CTR) |  |  | ALTA wireless ultrasonic distance sensor | ALTA Wireless Ultrasonic Sensors Min 10 cm max 400cm with resolution -1cm |  | low cost wireless sensor nodes capable of multi radio communication. | wifi, bluetooth, lora, sigfox, LTE-M (vodafone)
IMaR | AL1 | ALTA wireless sensors | MNS2-8-IN-DC-CF-L01 | Wireless dry-contact sensor | 2019 0069 | https://www.mouser.ie/datasheet/2/945/ADS-006-Dry-Contact-Sensor-Data-Sheet-1494111.pdf | N/A | Industrial | iMONNIT |  |  | 40°C to +85°C |  |  | 2.0-3.8 VDC | [15 empty] | 2 * 1.5 V AA sized batteries | 1,200+ ft non-line-of-sight | Up to 512 sensor messages | Standard License (No reselling of software), Reseller License (https://www.monnit.com/products/software/monnit-mine/mine-reseller/MNW-MI-RL/) | https://www.monnit.com/ALTA/ | https://www.monnit.com/products/software/ | Encrypt-RF® (256-bit key exchange and AES-128 CTR) |  |  | ALTA dry contact sensor | ALTA Industrial Wireless Dry Contact Sensor |  | Bluetooth 5.0 gateway capable of connecting to NB-IoT networks
IMaR | AL | ALTA wireless sensors | MNS2-8-W2-AC-ADV | Wireless 3-axis vibration sensor | 2019 0069 | https://www.mouser.ie/datasheet/2/945/ADS-074-Accelerometer-Advanced-Vibration-Meter-Dat-1845802.pdf | https://monnit.blob.core.windows.net/site/documents/sensors/accelerometers/advanced-vibration/AC-ADV-AUG-01.pdf | Industrial | iMONNIT |  |  | 40°C to +125°C |  |  | 2.0-3.8 VDC | [15 empty] | 2 * 1.5 V AA sized batteries | 1,200+ ft non-line-of-sight | 3200 sensor messages | Standard License (No reselling of software), Reseller License (https://www.monnit.com/products/software/monnit-mine/mine-reseller/MNW-MI-RL/) | https://www.monnit.com/ALTA/ | https://www.monnit.com/products/software/ | Encrypt-RF® (256-bit key exchange and AES-128 CTR) |  |  | ALTA 3-axis vibration sesnor | ALTA Wireless Accelerometer - Advanced Vibration Meter - Commercial AA Battery Powered |  | low cost LoRa gateway
IMaR | AL | ALTA wireless sensors | MNS2-8-W1-AC-GS | Wireless Accelerometer | 2019 0069 | https://www.mouser.ie/datasheet/2/945/ADS-059-Accelerometer-Snapshot-Data-Sheet-1494114.pdf | https://monnit.blob.core.windows.net/site/documents/sensors/accelerometers/gforce-snapshot/AC-GS-AUG-01.pdf | Industrial | iMONNIT | [21 empty] | 2 * 1.5 V AA sized batteries |  | 3200 sensor messages | Standard License (No reselling of software), Reseller License (https://www.monnit.com/products/software/monnit-mine/mine-reseller/MNW-MI-RL/) | https://www.monnit.com/ALTA/ | https://www.monnit.com/products/software/ | Encrypt-RF® (256-bit key exchange and AES-128 CTR) |  |  |  | ALTA Wireless Accelerometer - G-Force Snapshot Sensor - Coin Cell Powered (868MHz) |  | bluetooth gateway to use with AWS IoT Greengrass
IMaR | ALT1 | ALTA wireless sensors | MNS2-8-W2-VM-010- SW | Wireless 0-10VDC Voltage Meter | 2019 0069 | https://www.mouser.ie/datasheet/2/945/ADS-067-200-VDC-Meter-Sensor-Data-Sheet-1493975.pdf | N/A | Industrial | iMONNIT |  |  | Range -18°C to 55°C (alkaline), range -40°C to 85°C (lithium) |  |  | Range – 0 to 200 VDC Accuracy - +/- (.15 V + 1% of Reading) Resolution – 0.01 VDC | [15 empty] | 2 * 1.5 V AA sized batteries | 1,200+ ft non-line-of-sight | Up to 512 sensor messages | Standard License (No reselling of software), Reseller License (https://www.monnit.com/products/software/monnit-mine/mine-reseller/MNW-MI-RL/) | https://www.monnit.com/ALTA/ | https://www.monnit.com/products/software/ | Encrypt-RF® (256-bit key exchange and AES-128 CTR) |  |  | ALTA 0-10VDC voltage meter | ALTA Wireless Voltage Meters
IMaR | ALT1 | ALTA wireless sensors (Industrial) | MNS2-8-IN-CM-020 | Wireless Wraparound AC 20A Current Meter | 2019 0069 | https://www.mouser.ie/datasheet/2/945/ADS-054-AC-Current-Meter-Data-Sheet-1494146.pdf |  | Industrial | iMONNIT | [6 empty] | Range – 0-20/0-150 Acc - +/- (2% + .4 A rms)** Res- ~.01 A rms/~.1 A rms | [14 empty] | 2 * 1.5 V AA sized batteries | 1,200+ ft non-line-of-sight | 3200 sensor messages | Standard License (No reselling of software), Reseller License (https://www.monnit.com/products/software/monnit-mine/mine-reseller/MNW-MI-RL/) | https://www.monnit.com/ALTA/ | https://www.monnit.com/products/software/ | Encrypt-RF® (256-bit key exchange and AES-128 CTR) |  |  | Sensors presentations\ALTA Wireless 20Amp AC Current Meter.pptx | ALTA Industrial Wireless AC Current Meter
IMaR | AL1 | ALTA wireless sensors | MNS2-8-W2-PS-300-SW | Wireless Pressure Sensor 2MPa | 2019 0069 |  |  | Industrial | iMONNIT |  | Range- 50 or 300 PSIG | Range -18°C to 55°C (alkaline), range -40°C to 85°C (lithium) |  |  | 2.0-3.8 VDC | [15 empty] | 2 * 1.5 V AA sized batteries | 1,200+ ft non-line-of-sight | 3200 sensor messages | Standard License (No reselling of software), Reseller License (https://www.monnit.com/products/software/monnit-mine/mine-reseller/MNW-MI-RL/) |  |  | Encrypt-RF® (256-bit key exchange and AES-128 CTR) |  |  | Sensors presentations\ALTA Wireless PSIG Pressure Meter.pptx | ALTA Wireless Pressure Meters
IMaR |  | ALTA wireless sensors | MNA-GW-UL | Monnit Gateway Unlock |  |  |  | Industrial | [32 empty] | Monnit Gateway Unlock
IMaR |  | ALTA wireless sensors | MNW-MI-NL | Standard License |  |  |  | Industrial | [32 empty] | Monnit Mine Software
IMaR |  | ALTA wireless sensors | MNW-EX-10 | 10-sensor software license |  |  |  | Industrial | [32 empty] | Imonnit Express 4 (10 Sensors)